## Template
TRACEABILITY RECORD
INTRODUCTION
This template is designed to maintain documented traceability across incoming materials, production stages, final release, and distribution records in accordance with ISO 13485. It supports product identification, status visibility, recall readiness, and linkage between supplier lots, manufacturing records, and customer shipment details.
PURPOSE
• record complete lot, batch, serial, and processing history for traceable products • link raw materials, components, work orders, inspection records, and final release decisions • support field action, complaint investigation, and recall execution with reliable traceability evidence • demonstrate control of identification and status throughout receipt, manufacture, storage, and shipment
[Note] The depth of traceability should be aligned to product risk classification, regulatory requirements, and the need to identify affected records rapidly in the event of nonconformity or field action.
TRACEABILITY DATA ELEMENTS
Record Element | Expected Content
Material / Component Lot | Supplier lot, internal lot, or batch number received from the source
Work Order / Production Lot | Manufacturing order, batch record, or assembly identifier
Inspection / Release Reference | Incoming, in-process, or final acceptance evidence linked to the lot
Serial / Device Range | Unique device identifier or serial number range where applicable
Distribution Reference | Customer order, shipment number, and dispatch date associated with released product
TEMPLATE TABLE FOR COMPLETION
Record ID | Product Code | Product Description | Supplier Lot | Internal Batch | Work Order | Manufacture Date | Expiry Date | Inspection Status | Released By | Customer / Destination | Shipment Ref | Quantity | Remarks
INSTRUCTIONS FOR COMPLETING EACH FIELD
Record ID | Assign a unique traceability record number controlled by the organization.
Supplier Lot / Internal Batch | Capture the exact identifiers used to connect incoming materials and internal processing.
Work Order | Reference the manufacturing or packaging order under which the product was processed.
Inspection Status | Record current status supported by objective evidence from receipt, in-process, or final inspection.
Released By | State the authorized person responsible for release decision where applicable.
Customer / Destination | Identify warehouse, distributor, hospital, or direct customer receiving the released product.
Shipment Ref | Enter delivery note, transport reference, or shipment number to support downstream traceability.
Remarks | Use for exceptions, deviations, rework references, or special handling conditions.
[Note] Where unique device identification or implant traceability is applicable, the organization should define supplemental fields to ensure full record linkage and retention.

## Example - ABC
TRACEABILITY RECORD - EXAMPLE - ABC
EXAMPLE BACKGROUND
ABC manufactures and distributes regulated products across Europe. This example shows how material lot data, internal production records, release status, and customer shipment details may be maintained in a single traceability record.
Record ID | Product Code | Product Description | Supplier Lot | Internal Batch | Work Order | Manufacture Date | Expiry Date | Inspection Status | Released By | Customer / Destination | Shipment Ref | Quantity | Remarks | Inspection Status | Count
TR-001 | MD-1001 | Infusion Set Basic | LOT-A431 | B260401 | WO-6101 | 2026-04-01 | 2029-04-01 | Released | Elena Rossi | Berlin Distribution Hub | SHP-8801 | 5200 | Linked to incoming inspection II-2401 | Released | 15
TR-002 | MD-1001 | Infusion Set Basic | LOT-A432 | B260402 | WO-6102 | 2026-04-02 | 2029-04-02 | Released | Lukas Meyer | Prague Distribution Hub | SHP-8802 | 4800 | Packaging seal verification completed | Accepted | 3
TR-003 | MD-1015 | Single-use Catheter | LOT-C219 | B260403 | WO-6103 | 2026-04-03 | 2029-04-03 | Accepted | Chiara Conti | Milan Hospital Network | SHP-8803 | 2200 | Awaiting final transport confirmation | Quarantined | 1
TR-004 | MD-1040 | Surgical Drape Kit | LOT-D881 | B260404 | WO-6104 | 2026-04-04 | 2029-04-04 | Released | Matteo Bianchi | Madrid Distribution Hub | SHP-8804 | 3100 | Sterile barrier result within limit | Rejected | 1
TR-005 | MD-1100 | Specimen Collection Pack | LOT-S510 | B260405 | WO-6105 | 2026-04-05 | 2028-10-05 | Released | Anna Kovacs | Warsaw Distributor | SHP-8805 | 6400 | Includes accessory lot ACC-3301
TR-006 | MD-1205 | Orthopaedic Brace | LOT-O114 | B260406 | WO-6106 | 2026-04-07 | 2031-04-07 | Released | Julien Moreau | Paris Retail Medical Channel | SHP-8806 | 1500 | Serial range OB-9001 to OB-10500
TR-007 | MD-1015 | Single-use Catheter | LOT-C220 | B260407 | WO-6107 | 2026-04-08 | 2029-04-08 | Quarantined | Clara Neumann | Internal Hold Area | HOLD-201 | 900 | Hold due to label misprint investigation | Product Code | Quantity
TR-008 | MD-1250 | Procedure Tray | LOT-P662 | B260408 | WO-6108 | 2026-04-09 | 2029-04-09 | Released | Sophie Laurent | Brussels Distributor | SHP-8807 | 2700 | Tray configuration verified against BOM | MD-1001 | 5200
TR-009 | MD-1302 | Sterile Swab Pack | LOT-SW81 | B260409 | WO-6109 | 2026-04-10 | 2028-04-10 | Released | Hugo Schneider | Vienna Distribution Hub | SHP-8808 | 7200 | Gamma dose reference GR-044 attached | MD-1001 | 4800
TR-010 | MD-1330 | Wound Dressing Set | LOT-W992 | B260410 | WO-6110 | 2026-04-11 | 2028-10-11 | Accepted | Petra Novak | Copenhagen Distributor | SHP-8809 | 3400 | Pending proof of delivery scan | MD-1015 | 2200
TR-011 | MD-1400 | Diagnostic Sample Cup | LOT-DS17 | B260411 | WO-6111 | 2026-04-12 | 2030-04-12 | Released | Amelie Dubois | Athens Retail Medical Channel | SHP-8810 | 8600 | Mould cavity tracking retained | MD-1040 | 3100
TR-012 | MD-1425 | Protective Isolation Gown | LOT-G551 | B260412 | WO-6112 | 2026-04-13 | 2028-04-13 | Released | Oskar Lindberg | Stockholm Hospital Group | SHP-8811 | 4300 | Fabric lot FL-221 matched | MD-1100 | 6400
TR-013 | MD-1450 | Tourniquet | LOT-TQ72 | B260413 | WO-6113 | 2026-04-15 | 2031-04-15 | Released | Eva Bergstrom | Lisbon Distributor | SHP-8812 | 2800 | Latex-free declaration archived
TR-014 | MD-1475 | Biopsy Needle Pack | LOT-BN46 | B260414 | WO-6114 | 2026-04-16 | 2029-04-16 | Released | Isabelle Martin | Munich Distribution Hub | SHP-8813 | 1900 | Needle lot linked to passivation record
TR-015 | MD-1501 | Medication Tray | LOT-MT33 | B260415 | WO-6115 | 2026-04-17 | 2030-04-17 | Rejected | Frederik Jensen | Internal Scrap Area | NCR-1145 | 600 | Rejected for incorrect assembly count
TR-016 | MD-1520 | Nebuliser Accessory Kit | LOT-NA29 | B260416 | WO-6116 | 2026-04-18 | 2029-04-18 | Released | Greta Olsen | Oslo Distributor | SHP-8814 | 2600 | Flow test results attached
TR-017 | MD-1540 | Therapy Tube Set | LOT-TT87 | B260417 | WO-6117 | 2026-04-19 | 2029-04-19 | Released | Nicolas Petit | Rotterdam Distribution Hub | SHP-8815 | 3750 | Lot split across two pallets
TR-018 | MD-1600 | Procedure Mask Pack | LOT-PM74 | B260418 | WO-6118 | 2026-04-20 | 2028-04-20 | Released | Marta Lewandowska | Dublin Distributor | SHP-8816 | 9100 | Filter media lot FM-188 retained
TR-019 | MD-1622 | Examination Glove Kit | LOT-EG28 | B260419 | WO-6119 | 2026-04-21 | 2028-04-21 | Accepted | Sebastian Weber | Zurich Medical Channel | SHP-8817 | 5300 | Awaiting final archive scan of COA
TR-020 | MD-1660 | Sampling Device | LOT-SD61 | B260420 | WO-6120 | 2026-04-22 | 2029-04-22 | Released | Tomasz Zielinski | Budapest Distribution Hub | SHP-8818 | 2400 | Serial range SD-12001 to SD-14400